Bone Dry Products, Inc. June 2019

9009 58th Place

Kenosha, WI 53144

**Phone:** 262-694-9748

**E-mail:** info@bonedryproducts.com

**Website:** http://www.[bonedryproducts.com](http://www.millenniumtiles.com/)

Specifier Notes: This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, including *MasterFormat, SectionFormat,* and *PageFormat,* as described in *The Project Resource Manual—CSI Manual of Practice.*

The section must be carefully reviewed and edited by the Architect to meet the requirements of the project and local building code. Coordinate this section with other specification sections and the Drawings. Delete all Specifier Notes when editing this section.

Brackets indicate options in text to be filled in or deleted by the author; they should NOT be visible in final document.

Section numbers and titles are from *MasterFormat* 2018 Edition.

Please remove references to the manufacturer and preparer of this guide specification found in the header/footer.

**NOTE:** Because Bone Dry can be applied during the concrete pour or prior to installation of flooring we have provided two specification sections under which to include this valuable data. It is the specifier’s option to select the most appropriate location for his/her project.

SECTION 03 05 50

CONCRETE SEALERS

OR

SECTION 09 05 61.13

MOISTURE VAPOR EMISSION CONTROL

PART 1 GENERAL

1.01 SECTION INCLUDES

A. Concrete sealers

1.02 RELATED REQUIREMENTS

A. Section 03 30 00 – Cast-In-Place Concrete:

B. Section 03 53 00 – Concrete Topping

C. Division 09 – Finishes; Flooring Sections

1.03 ADMINISTRATIVE REQUIREMENTS

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

For warranted jobs, Contractor must receive approval of adhesive by Bone Dry Products.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

A. Coordinate with flooring sections for make, type and application method of adhesive and verify with sealer manufacturer.

B. Receive approval of sealer manufacturer if installation of finish flooring will be less than 30 days after concrete pour.

1.04 SUBMITTALS

A. See Section 01 30 00 - Administrative Requirements, for submittal procedures.

B. Product Data: Provide manufacturer’s product literature listing applications and limitations.

C. Warranty Documentation: Submit manufacturer warranty and ensure that forms have been completed in Owner's name and registered with manufacturer.

D. Specimen Warranty.

1.05 QUALITY ASSURANCE

A. Manufacturer Qualifications: Company specializing in manufacturing products specified in this section, with at least three years of [documented] experience.

B. Installer Qualifications: Company specializing in performing work of the type specified and with at least three years of experience.

1.06 DELIVERY, STORAGE, AND HANDLING

A. Deliver materials to project site in original, unopened containers.

B. Store materials in protected area not subject to freezing between 40° F (4° C) and 90°. F (32° C)

C. Store closed containers in well ventilated space.

D. Wear protective clothing, gloves and eyewear when applying.

E. Wear NIOSH approved respirator when handling.

1.07 FIELD CONDITIONS

A. Ambient Conditions: Do not install sealer when concrete is less than 40° F(4° C), or more than 90° F(32° C) for a minimum of 24 hours before or after application.

1.08 WARRANTY

A. See Section 01 78 00 - Closeout Submittals, for additional warranty requirements.

B. Provide 20 year manufacturer’s warranty for coverage against damage to flooring or flooring adhesive materials due to concrete moisture.

PART 2 PRODUCTS

2.01 MANUFACTURERS

A. Bone Dry Products, Inc.; Bone Dry Pro: www.bonedryproducts.com.

B. Substitutions: [[Not Allowed][See Section [01 60 00 - Product Requirements][01 25 00 – Substitution Procedures]].

2.02 MATERIAL

A. Concrete Sealer:

1. Composition: Water-based penetrating compound.

2. VOC Content: EPA Method 24; Zero VOC’s.

3. Finish: Transparent, no sheen.

2.03 ACCESSORIES

A. Surface Preparation: Etch-A-Crete by Bone Dry Products, Inc.

B. Leveling Surface: Concrete-based material, gypsum-based products are not allowed.

PART 3 EXECUTION

3.01 PREPARATION

A. Existing Concrete with Surface Coatings: Perform either to achieve clean porous surface:

1. Apply self-leveling top coat or skim coat of concrete, or

2. Mechanically profile surface by diamond grinding or shot blasting surface.

3. Concrete with known moisture problems or over 20 years of age must receive skim coat of concrete; contact manufacturer for exceptions to this requirement.

B. Thoroughly clean floor, of dust, paint, gypsum board compound, and other materials that interfere with complete coverage of sealer.

C. If slab with no existing surface coatings has received a hard trowel finish either:

1. Apply surface preparation (Etch-A-Crete) per manufacturer’s instructions, or

2. Mechanically profile surface by diamond grinding or shot blasting surface.

D. Verify that cracks (excluding expansion or control joints) are routed out and filled with Portland cement 6 inches beyond edges of crack.

E. Protect surrounding finish surfaces within at least 24 inches from overspray of sealer.

F. Ensure that areas to receive sealer are well ventilated.

3.02 INSTALLATION

A. Install in accordance with manufacturer's instructions.

B. Hard Troweled of Burnished New Concrete Applications:

1. Apply first coat of sealer and let dry for no more than 10 minutes.

2. Apply second coat while first is still wet, and only to areas where sealer has penetrated and texture of concrete is apparent.

a. Use broom or brush to spread pooled sealer.

3. Allow sealer to dry for 6 hours minimum.

C. At The Time of Concrete Pour Applications:

1. Use of a super plasticizer or other modifier to increase workability is allowed.

2. Do not apply cure and seal products or water during curing.

3. Do not burnish concrete if applying after the final trowel.

a. If burnishing concrete, apply sealer during trowel process. Sealer can be applied once the slab is hard enough to stand on with minor indentations.

4. Allow slab to dry for 1 hour minimum or until slab is firm enough to walk on after final troweling.

5. Apply sealer at manufacturer’s recommended rate, allow to absorb for 5 to 8 minutes.

6. Apply second coat to areas where first coats has penetrated.

7. Allow sealer to dry for 6 hours minimum.

D. Existing Concrete with Prior Coating Applications:

1. Sealer must be applied after leveling coat of concrete is applied to shot blasted surfaces.

2. Diamond Ground Surfaces:

a. Apply sealer at manufacturer’s recommended rate, allow sealer to absorb for 5 to 8 minutes.

b. Apply second coat to areas where first coats has penetrated.

c. Allow sealer to dry for 6 hours minimum.

3.03 CLEANING

A. Vacuum loose particles prior to applying approved flooring adhesives.

B. See Section 01 74 19 - Construction Waste Management and Disposal, for disposal of containers.

3.04 PROTECTION

A. Do not permit traffic on floor surface until fully dried.

END OF SECTION